# SECTION 608 – MOWING

## 608.01 – Description

This work shall consist of mowing designated areas to a height of not less than 4 inches when and as directed by the Engineer until final acceptance.

## 608.02 – Equipment

Equipment used for mowing operations shall be mechanical with a cutting width of at least 5 feet unless otherwise restricted by access limitations. Mowing equipment operators shall carefully and diligently load, unload, temporarily store, and safely operate equipment according to Section 512, the VWAPM and MUCTD guidelines.

## 608.03 – Measurement and Payment

Mowing, when a pay item, will be measured in hours of operation and will be paid for at the contract unit price per hour. This price shall include furnishing equipment, operators, fuel, lubricants, and any required traffic control including signs and warning devices.

Maintenance of traffic costs will be considered incidental to mowing operations.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Mowing | Hour |